BIDDING DOCUMENT

FOR THE

PROCUREMENT OF FUEL, LUBRICANTS AND OIL FOR PHILRICE MIDSAYAP (RCEF) FOR THE YEAR 2021 under PB MES 21-02-04

Table of Contents

Section I. Invitation to Bid……………………………………………………..3

Section II. Instructions to Bidders……………..……………………………...6

1.	Scope of Bid ……………………………………………………………………….	7

2.	Funding Information……………………………………………………………….	7

3.	Bidding Requirements …………………………………………………………….	7

4.	Corrupt, Fraudulent, Collusive, and Coercive Practices	7

5.	Eligible Bidders……………………………………………………………………	7

6.	Origin of Goods …………………………………………………………………..	8

7.	Subcontracts ………………………………………………………………………	8

8.	Pre-Bid Conference ……………………………………………………………….	9

9.	Clarification and Amendment of Bidding Documents ……………………………	9

10.	Documents comprising the Bid: Eligibility and Technical Components ………….	9

11.	Documents comprising the Bid: Financial Component …………………………...	9

12.	Bid Prices ………………………………………………………………………….	10

13.	Bid and Payment Currencies ………………………………………………………	10

14.	Bid Security ……………………………………………………………………….	11

15.	Sealing and Marking of Bids ………………………………………………………	11

16.	Deadline for Submission of Bids ………………………………………………….	11

17.	Opening and Preliminary Examination of Bids …………………………………..	11

18.	Domestic Preference ………………………………………………………………	11

19.	Detailed Evaluation and Comparison of Bids …………………………………….	12

20.	Post-Qualification …………………………………………………………………	12

21.	Signing of the Contract ……………………………………………………………	12

Section III. Bid Data Sheet …………………………………………………..13

Section IV. General Conditions of Contract ……………………...………..15

1.	Scope of Contract …………………………………………………………………	16

2.	Advance Payment and Terms of Payment ………………………………………..	16

3.	Performance Security …………………………………………………………….	16

4.	Inspection and Tests ………………………………………………………………	16

5.	Warranty ………………………………………………………………………….	17

6.	Liability of the Supplier …………………………………………………………..	17

Section V. Special Conditions of Contract ………………………………….18

Section VI. Schedule of Requirements ……………………………………....23

Section VII. Technical Specifications …………………………………………24

Section VIII. Checklist of Technical and Financial Documents …………..29

# Section I. Invitation to Bid

Invitation to Bid for PROCUREMENT OF FUEL, LUBRICANTS AND OIL FOR PHILRICE MIDSAYAP (RCEF) FOR THE YEAR 2021 under PB MES 21-02-04

- The Philippine Rice Research Institute, through the 2021 RCEF Budget intends to apply the sum of TWO MILLION TWENTY THREE HUNDRED THOUSAND  AND 00/100 (PhP 2,023,000.00) under PB MES 21-02-04, being the ABC to payments under the contract for the PROCUREMENT OF FUEL, LUBRICANTS AND OIL FOR PHILRICE MIDSAYAP (RCEF) FOR THE YEAR 2021.  Bids received in excess of the ABC for each lot shall be automatically rejected at bid opening.

- The Philippine Rice Research Institute now invites bids for the above Procurement Project.   Delivery of the Goods is required within the period specified in the schedule of requirements.  Bidders should have completed, within two (2) years from the date of submission and receipt of bids, a contract similar to the Project.  The description of an eligible bidder is contained in the Bidding Documents, particularly, in Section II (Instructions to Bidders).

- Bidding will be conducted through open competitive bidding procedures using a non-discretionary “pass/fail” criterion as specified in the 2016 revised Implementing Rules and Regulations (IRR) of Republic Act (RA) No. 9184.

Bidding is restricted to Filipino citizens/sole proprietorships, partnerships, or organizations with at least sixty percent (60%) interest or outstanding capital stock belonging to citizens of the Philippines, and to citizens or organizations of a country the laws or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA No. 5183.

- Prospective Bidders may obtain further information from PhilRice Midsayap and inspect the Bidding Documents at the address given below during 8:00AM to 5:00PM.

- A complete set of Bidding Documents may be acquired by interested Bidders on February 18, 2021 to March 11, 2021, from the given address and website(s) below and upon payment of the applicable fee for the Bidding Documents, pursuant to the latest Guidelines issued by the GPPB, in the amount of Two Thousand One Hundred Pesos and 00/100 (PhP 2,100.00).

It may also be downloaded free of charge from the website of the Philippine Government Electronic Procurement System (PhilGEPS), provided that the bidders shall pay the applicable fee for Bidding Documents, which shall be open to prospective bidders.

- The Philippine Rice Research Institute will hold a Pre-Bid Conference on February 26, 2021, 10:00AM at PhilRice Midsayap, Bual Norte, Midsayap, North Cotabato, which shall be open to prospective bidders.

- Bids must be duly received by the BAC Secretariat at the address below on or before March 11, 2021, 9:30AM. Late bids shall not be accepted.

- All Bids must be accompanied by a bid security in any of the acceptable forms and in the amount stated in ITB Clause 14.

- Bid opening shall be on March 11, 2021 , 10:00AM at PhilRice Midsayap, Bual Norte, Midsayap, North Cotabato. Bids will be opened in the presence of the bidders’ representatives who choose to attend the activity.

- The Philippine Rice Research Institute reserves the right to reject any and all bids, declare a failure of bidding, or not award the contract at any time prior to contract award in accordance with Sections 35.6 and 41 of the 2016 revised IRR of RA No. 9184, without thereby incurring any liability to the affected bidder or bidders.

- For further information, please refer to:

MARIFEL A. ASTILLO

Admin Officer II

Bac Secretariat

PhilRice Midsayap,

Bual Norte, Midsayap, Cotabato

Contact No. 09515354348

marifelastillo9@gmail.com

- You may visit the following websites:

For downloading of Bidding Documents:

www.philgeps.gov.ph and www.philrice.gov.ph

February 17, 2021

OMMAL H. ABDULKADIL

BAC Chairperson

# Section II. Instructions to Bidders

## Scope of Bid

The Procuring Entity, Philippine Rice Research Institute  named in the BDS wishes to receive Bids for the Procurement of Fuel, Lubricants and Oil for PhilRice Midsayap (RCEF) for the Year 2021  with identification number PB MES 21-02-04.

The Procurement Project (referred to herein as “Project”) is composed of lots specific to this bidding are provided in the BDS, the details of which are described in Section VII (Technical Specifications).

## Funding Information

- The GOP through the source of funding as indicated below for 2021 RCEF Budget in the amount of Two Million Twenty Three Hundred Thousand  and 00/100 (PhP 2,023,000.00)

- The source of funding is:

- 2021 RCEF Operating Budget

## Bidding Requirements

The Bidding for the Project shall be governed by all the provisions of RA No. 9184 and its 2016 revised IRR, including its Generic Procurement Manuals and associated policies, rules and regulations as the primary source thereof, while the herein clauses shall serve as the secondary source thereof.

Any amendments made to the IRR and other GPPB issuances shall be applicable only to the ongoing posting, advertisement, or IB by the BAC through the issuance of a supplemental or bid bulletin.

## The Bidder, by the act of submitting its Bid, shall be deemed to have verified and accepted the general requirements of this Project, including other factors that may affect the cost, duration and execution or implementation of the contract, project, or work and examine all instructions, forms, terms, and project requirements in the Bidding Documents.

## Corrupt, Fraudulent, Collusive, and Coercive Practices

The Procuring Entity, as well as the Bidders and Suppliers, shall observe the highest standard of ethics during the procurement and execution of the contract.  They or through an agent shall not engage in corrupt, fraudulent, collusive, coercive, and obstructive practices defined under Annex “I” of the 2016 revised IRR of RA No. 9184 or other integrity violations in competing for the Project.

## Eligible Bidders

5.1.	Only Bids of Bidders found to be legally, technically, and financially capable will be evaluated.

5.2 Foreign ownership exceeding those allowed under the rules may participate pursuant to:

    - When a Treaty or International or Executive Agreement as provided in Section 4 of the RA No. 9184 and its 2016 revised IRR allow foreign bidders to participate;

    - Citizens, corporations, or associations of a country, included in the list issued by the GPPB, the laws or regulations of which grant reciprocal rights or privileges to citizens, corporations, or associations of the Philippines;

    - When the Goods sought to be procured are not available from local suppliers; or

    - When there is a need to prevent situations that defeat competition or restrain trade.

- Foreign ownership limited to those allowed under the rules may participate in this Project.

5.3.	Pursuant to Section 23.4.1.3 of the 2016 revised IRR of RA No.9184, the Bidder shall have an SLCC that is at least one (1) contract similar to the Project the value of which, adjusted to current prices using the PSA’s CPI, must be at least equivalent to:

- For the Procurement of Expendable Supplies: The Bidder must have completed a single contract that is similar to this Project, equivalent to at least twenty-five percent (25%) of the ABC.

5.4.	The Bidders shall comply with the eligibility criteria under Section 23.4.1 of the 2016 IRR of RA No. 9184.

## Origin of Goods

There is no restriction on the origin of goods other than those prohibited by a decision of the UN Security Council taken under Chapter VII of the Charter of the UN, subject to Domestic Preference requirements under ITB Clause 18.

## Subcontracts

    - The Bidder may subcontract portions of the Project to the extent allowed by the Procuring Entity as stated herein, but in no case more than twenty percent (20%) of the Project.

The Procuring Entity has prescribed that:

      - Subcontracting is not allowed.

## Pre-Bid Conference

The Procuring Entity will hold a pre-bid conference for this Project on the specified date and time and either at its physical address, on February 26, 2021, 10:00AM, at PhilRice Midsayap, Bual Norte, Midsayap, North Cotabato. As indicated in paragraph 6 of the IB.

## Clarification and Amendment of Bidding Documents

Prospective bidders may request for clarification on and/or interpretation of any part of the Bidding Documents.  Such requests must be in writing and received by the Procuring Entity, either at its given address or through electronic mail indicated in the IB, at least ten (10) calendar days before the deadline set for the submission and receipt of Bids.

## Documents comprising the Bid: Eligibility and Technical Components

    - The first envelope shall contain the eligibility and technical documents of the Bid as specified in Section VIII (Checklist of Technical and Financial Documents).

    - The Bidder’s SLCC as indicated in ITB Clause 5.3 should have been completed within two (2) years  prior to the deadline for the submission and receipt of bids.

    - If the eligibility requirements or statements, the bids, and all other documents for submission to the BAC are in foreign language other than English, it must be accompanied by a translation in English, which shall be authenticated by the appropriate Philippine foreign service establishment, post, or the equivalent office having jurisdiction over the foreign bidder’s affairs in the Philippines. Similar to the required authentication above, for Contracting Parties to the Apostille Convention, only the translated documents shall be authenticated through an apostille pursuant to GPPB Resolution No. 13-2019 dated 23 May 2019. The English translation shall govern, for purposes of interpretation of the bid.

## Documents comprising the Bid: Financial Component

  - The second bid envelope shall contain the financial documents for the Bid as specified in Section VIII (Checklist of Technical and Financial Documents).

  - If the Bidder claims preference as a Domestic Bidder or Domestic Entity, a certification issued by DTI shall be provided by the Bidder in accordance with Section 43.1.3 of the 2016 revised IRR of RA No. 9184.

  - Any bid exceeding the ABC indicated in paragraph 1 of the IB shall not be accepted.

  - For Foreign-funded Procurement, a ceiling may be applied to bid prices provided the conditions are met under Section 31.2 of the 2016 revised IRR of RA No. 9184.

## Bid Prices

12.1.	Prices indicated on the Price Schedule shall be entered separately in the following manner:

      - For Goods offered from within the Procuring Entity’s country:

- The price of the Goods quoted EXW (ex-works, ex-factory, ex-warehouse, ex-showroom, or off-the-shelf, as applicable);

- The cost of all customs duties and sales and other taxes already paid or payable;

- The cost of transportation, insurance, and other costs incidental to delivery of the Goods to their final destination; and

- The price of other (incidental) services, if any, listed in e.

      - For Goods offered from abroad:

- Unless otherwise stated in the BDS, the price of the Goods shall be quoted delivered duty paid (DDP) with the place of destination in the Philippines as specified in the BDS.  In quoting the price, the Bidder shall be free to use transportation through carriers registered in any eligible country.  Similarly, the Bidder may obtain insurance services from any eligible source country.

- The price of other (incidental) services, if any, as listed in Section VII (Technical Specifications).

12.2. Bid and Payment Currencies

    - For Goods that the Bidder will supply from outside the Philippines, the bid prices may be quoted in the local currency or tradeable currency accepted by the BSP at the discretion of the Bidder.  However, for purposes of bid evaluation, Bids denominated in foreign currencies, shall be converted to Philippine currency based on the exchange rate as published in the BSP reference rate bulletin on the day of the bid opening.

    - Payment of the contract price shall be made in:

      - Philippine Pesos.

## Bid Security

  - The Bidder shall submit a Bid Securing Declaration or any form of Bid Security in the amount indicated in the BDS, which shall be not less than the percentage of the ABC in accordance with the schedule in the BDS.

  - The Bid and bid security shall be valid until 120 days.  Any Bid not accompanied by an acceptable bid security shall be rejected by the Procuring Entity as non-responsive.

## Sealing and Marking of Bids

Each Bidder shall submit one copy of the first and second components of its Bid.

The Procuring Entity may request additional hard copies and/or electronic copies of the Bid. However, failure of the Bidders to comply with the said request shall not be a ground for disqualification.

If the Procuring Entity allows the submission of bids through online submission or any other electronic means, the Bidder shall submit an electronic copy of its Bid, which must be digitally signed. An electronic copy that cannot be opened or is corrupted shall be considered non-responsive and, thus, automatically disqualified.

## Deadline for Submission of Bids

16.1.	The Bidders shall submit on the specified date and time and either at its physical address or through online submission as indicated in paragraph 7 of the IB.

## Opening and Preliminary Examination of Bids

  - The BAC shall open the Bids in public at the time, on the date, and at the place specified in paragraph 9 of the IB. The Bidders’ representatives who are present shall sign a register evidencing their attendance.   In case videoconferencing, webcasting or other similar technologies will be used, attendance of participants shall likewise be recorded by the BAC Secretariat.

In case the Bids cannot be opened as scheduled due to justifiable reasons, the rescheduling requirements under Section 29 of the 2016 revised IRR of RA No. 9184 shall prevail.

  - The preliminary examination of bids shall be governed by Section 30 of the 2016 revised IRR of RA No. 9184.

## Domestic Preference

18.1.	The Procuring Entity will grant a margin of preference for the purpose of comparison of Bids in accordance with Section 43.1.2 of the 2016 revised IRR of RA No. 9184.

## Detailed Evaluation and Comparison of Bids

  - The Procuring BAC shall immediately conduct a detailed evaluation of all Bids rated “passed,” using non-discretionary pass/fail criteria.  The BAC shall consider the conditions in the evaluation of Bids under Section 32.2 of the 2016 revised IRR of RA No. 9184.

  - If the Project allows partial bids, bidders may submit a proposal on any of the lots or items, and evaluation will be undertaken on a per lot or item basis, as the case maybe. In this case, the Bid Security as required by ITB Clause 15 shall be submitted for each lot or item separately.

  - The descriptions of the lots or items shall be indicated in Section VII (Technical Specifications), although the ABCs of these lots or items are indicated in the BDS for purposes of the NFCC computation pursuant to Section 23.4.2.6 of the 2016 revised IRR of RA No. 9184.  The NFCC must be sufficient for the total of the ABCs for all the lots or items participated in by the prospective Bidder.

  - The Project shall be awarded as follows:

One Project having several items that shall be awarded as one contract.

  - Except for bidders submitting a committed Line of Credit from a Universal or Commercial Bank in lieu of its NFCC computation, all Bids must include the NFCC computation pursuant to Section 23.4.1.4 of the 2016 revised IRR of RA No. 9184, which must be sufficient for the total of the ABCs for all the lots or items participated in by the prospective Bidder. For bidders submitting the committed Line of Credit, it must be at least equal to ten percent (10%) of the ABCs for all the lots or items participated in by the prospective Bidder.

## Post-Qualification

20.1.	Within a non-extendible period of five (5) calendar days from receipt by the Bidder of the notice from the BAC that it submitted the Lowest Calculated Bid, the Bidder shall submit its latest income and business tax returns filed and paid through the BIR Electronic Filing and Payment System (eFPS) and other appropriate licenses and permits required by law and stated in the BDS.

## Signing of the Contract

21.1.	The documents required in Section 37.2 of the 2016 revised IRR of RA No. 9184 shall form part of the Contract. Additional Contract documents are indicated in the BDS.

# Section III. Bid Data Sheet

Bid Data Sheet

| ITB Clause |  |
| --- | --- |
| 5.3 | For this purpose, contracts similar to the Project shall be: - the Procurement of Fuel, Lubricants and Oil for PhilRice Midsayap (RCEF) for the Year 2021 - completed within Two (2) Years prior to the deadline for the submission and receipt of bids. |
| 7.1 | No further instruction |
| 12 | The price of the Goods shall be quoted DDP and deliver to Philippine Rice Research Institute Bual Norte ,Midsayap, Cotabato Tel.#: 064-229-8178 or the applicable International Commercial Terms (INCOTERMS) for this Project. |
| 14.1 | The bid security shall be in the form of a Bid Securing Declaration, or any of the following forms and amounts: |
|  | - The amount of not less than Forty Thousand Four Hundred Sixty Pesos and 00/100 (Php: 40,460.00) if bid security is in cash, cashier’s/manager’s check, bank draft/guarantee or irrevocable letter of credit; or |
|  | - The amount of not less than One Hundred One Thousand One Hundred Fifty Pesos and 00/100 (Php: 101,150.00) if bid security is in Surety Bond |
| 19.3 | Grouping and Evaluation of Lots and per item – Award will be (one) 1 lot for fuel, lubricants and Oil. |
| 20.2 | Latest income and business tax return for the last six months. VAT Returns (Form 2550M & 2550Q) or Percentage Tax Returns (2552M) with proof of payment covering the months from August 2020-January 2021. |
| 21.2 | No further instructions. |

# Section IV. General Conditions of Contract

## Scope of Contract

This Contract shall include all such items, although not specifically mentioned, that can be reasonably inferred as being required for its completion as if such items were expressly mentioned herein. All the provisions of RA No. 9184 and its 2016 revised IRR, including the Generic Procurement Manual, and associated issuances, constitute the primary source for the terms and conditions of the Contract, and thus, applicable in contract implementation.  Herein clauses shall serve as the secondary source for the terms and conditions of the Contract.

This is without prejudice to Sections 74.1 and 74.2 of the 2016 revised IRR of RA No. 9184 allowing the GPPB to amend the IRR, which shall be applied to all procurement activities, the advertisement, posting, or invitation of which were issued after the effectivity of the said amendment.

Additional requirements for the completion of this Contract shall be provided in the Special Conditions of Contract (SCC).

## Advance Payment and Terms of Payment

  - Advance payment of the contract amount is provided under Annex “D” of the revised 2016 IRR of RA No. 9184.

  - The Procuring Entity is allowed to determine the terms of payment on the partial or staggered delivery of the Goods procured, provided such partial payment shall correspond to the value of the goods delivered and accepted in accordance with prevailing accounting and auditing rules and regulations.  The terms of payment are indicated in the SCC.

## Performance Security

Within ten (10) calendar days from receipt of the Notice of Award by the Bidder from the Procuring Entity but in no case later than prior to the signing of the Contract by both parties, the successful Bidder shall furnish the performance security in any of the forms prescribed in Section 39 of the 2016 revised IRR of RA No. 9184

## Inspection and Tests

The Procuring Entity or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Project specifications at no extra cost to the Procuring Entity in accordance with the Generic Procurement Manual.  In addition to tests in the SCC, Section IV (Technical Specifications) shall specify what inspections and/or tests the Procuring Entity requires, and where they are to be conducted.  The Procuring Entity shall notify the Supplier in writing, in a timely manner, of the identity of any representatives retained for these purposes.

All reasonable facilities and assistance for the inspection and testing of Goods, including access to drawings and production data, shall be provided by the Supplier to the authorized inspectors at no charge to the Procuring Entity.

## Warranty

  - In order to assure that manufacturing defects shall be corrected by the Supplier, a warranty shall be required from the Supplier as provided under Section 62.1 of the 2016 revised IRR of RA No. 9184.

  - The Procuring Entity shall promptly notify the Supplier in writing of any claims arising under this warranty.  Upon receipt of such notice, the Supplier shall, repair or replace the defective Goods or parts thereof without cost to the Procuring Entity, pursuant to the Generic Procurement Manual.

## Liability of the Supplier

The Supplier’s liability under this Contract shall be as provided by the laws of the Republic of the Philippines.

If the Supplier is a joint venture, all partners to the joint venture shall be jointly and severally liable to the Procuring Entity.

# Section V. Special Conditions of Contract

Special Conditions of Contract

| GCC Clause |  |
| --- | --- |
| 1. | Delivery and Documents – |
|  | For purposes of the Contract, “EXW,” “FOB,” “FCA,” “CIF,” “CIP,” “DDP” and other trade terms used to describe the obligations of the parties shall have the meanings assigned to them by the current edition of INCOTERMS published by the International Chamber of Commerce, Paris. The Delivery terms of this Contract shall be as follows: |
|  | The delivery terms applicable to this Contract are delivered to Philippine Rice Research Institute Midsayap, Bual Norte, Midsayap, Cotabato tel#:(064)229-8178 . Risk and title will pass from the Supplier to the Procuring Entity upon receipt and final acceptance of the Goods at their final destination.” |
|  | Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in Section VI (Schedule of Requirements). |
|  | For purposes of this Clause the Procuring Entity’s Representative at the Project Site is OMMAL H. ABDULKADIL. The supplier is required to provide all the goods and incidental services as specified in Section Vi. Schedule of requirements and the Terms of Reference in accordance with the following requirements, to wit: Suppliers have the option to offer fleet card technology or regular/manual withdrawal of from gasoline stations using trip ticket or withdrawal slip; OPTION 1. For Gasoline Stations: - Ensure that the gasoline station is available at all times to dispense fuel to PhilRice service vehicles in accordance with the terms and conditions as stated in the Terms of Reference - Only the goods stated in the approved withdrawal slip shall be provided by the supplier. - The service/station branch shall load fuel only to the vehicles indicated in the approved withdrawal slip and no excess shall be allowed outside the maximum allocations; - A transaction slip/receipt/invoice shall be issued every time fuel is withdrawn; - The statement of account should be accurate with the receipt/invoice issued by the service stations; - Ensure that the receipt/invoice accurately reflects all purchases charged. OPTION 1. FLEET CARD TECHNOLOGY - Provide fuel , oil and lubricants - Ensure that the fleet card technology is secured and is protected from duplication or hacking; - Provide service station network are available at all times to dispense fuel to PhilRice service which is available nationwide; - Ensure that all its branches/service stations vehicles in accordance with the terms and conditions as stated in the Terms of Reference; - Provide a web-based program for data tracking or monitoring reflecting the monthly purchases of PhilRice; - Provide 24 hour towing services and roadside assistance nationwide to all service vehicles enrolled in the fleet card program - The Supplier shall provide PhilRice service vehicles a Vehicle- specific fleet card containing the following information: i. Card Number ii. Office Name iii. Vehicle details (type of vehicle and plate number); - Product restriction (type of fuel) - Expiry date - Only the vehicle indicated in the fleet card shall be allowed to avail of the goods. - The supplier shall be responsible in dispensing and making available at all times and at all branches/stations for a period of one (1) year for the following estimated volume or quantity of the following goods: FLEET CARD Program (for PhilRice vehicles/ Generator Set and Farm Machinery) 35,000 *liters of diesel 1000 *liters of gasoline *50 liters Gear Oil *250 liters Brake Fluid *235 liters Engine Oil *10 liters Grease Oil - Responsibilities of the Fleet Card Service Provider i. The Service Provider shall allow issuance of fuel products to PhilRice service vehicles, enrolled/listed in the Fleet Card Program. in all of its branches - The service/station branch shall load fuel only to the vehicles indicated in the fleet card and no excess shall be allowed outside the maximum allocations; - A transaction slip/receipt/invoice shall be issued every time fuel is withdrawn; - The statement of account should be accurate with the receipt/invoice issued by the service stations; Ensure that the fleet card transaction slip accurately reflects all purchases charged to the fleet card Transportation – Where the Supplier is required under Contract to deliver the Goods CIF, CIP, or DDP, transport of the Goods to the port of destination or such other named place of destination in the Philippines, as shall be specified in this Contract, shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price. Where the Supplier is required under this Contract to transport the Goods to a specified place of destination within the Philippines, defined as the Project Site, transport to such place of destination in the Philippines, including insurance and storage, as shall be specified in this Contract, shall be arranged by the Supplier, and related costs shall be included in the contract price. Where the Supplier is required under Contract to deliver the Goods CIF, CIP or DDP, Goods are to be transported on carriers of Philippine registry. In the event that no carrier of Philippine registry is available, Goods may be shipped by a carrier which is not of Philippine registry provided that the Supplier obtains and presents to the Procuring Entity certification to this effect from the nearest Philippine consulate to the port of dispatch. In the event that carriers of Philippine registry are available but their schedule delays the Supplier in its performance of this Contract the period from when the Goods were first ready for shipment and the actual date of shipment the period of delay will be considered force majeure. The Procuring Entity accepts no liability for the damage of Goods during transit other than those prescribed by INCOTERMS for DDP deliveries. In the case of Goods supplied from within the Philippines or supplied by domestic Suppliers risk and title will not be deemed to have passed to the Procuring Entity until their receipt and final acceptance at the final destination. |

|  | # Fuel prices shall be subjected to the prevailing/current pump price per day of transaction covering the whole duration of the contract. |
| --- | --- |
| # 2.2 | # Payment will be done on a monthly basis upon submission by the service provider of its statement of account/billing with the transaction slip/receipt/invoice, provided that the payment is subject to the appropriate withholding taxes deducted from the net receipts (gross less 12% VAT) |
| # 4 | # The inspections and tests that will be conducted are: Inspection as to quantity and technical specifications as enumerated in the Contract and Bid offer. |

# Section VI. Schedule of Requirements

The delivery schedule expressed as weeks/months stipulates hereafter a delivery date which is the date of delivery to the project site.

| Item Number | Description | Quantity | Total | Delivered, Weeks/Months |
| --- | --- | --- | --- | --- |
| 1 | PROCUREMENT OF FUEL, LUBRICANTS AND OIL FOR PHILRICE MIDSAYAP (RCEF) FOR THE YEAR 2021 under PB MES 21-02-04 Option 1. Gas station Option 2. Fleet card technology 35,000 *liters of diesel 1,000 *liters of gasoline *50 liters Gear Oil *250 liters Brake Fluid *235 liters Engine Oil *10 liters Grease Oil | 1 lot | 2,023,000.00 | Within One year from the date of Issuance of Notice to Proceed |

The Quantity/ units for fuel Diesel and Gasoline are estimated for the year and for bidding purposes only, In the actual implementation of the contract, the quantity/units may increase/decrease as the need arises but in no case shall the contract/transaction exceed the approved budget.

# Section VII. Technical Specifications

Technical Specifications

| Item | Specification | Statement of Compliance |
| --- | --- | --- |
|  |  | [Bidders must state here either “Comply” or “Not Comply” against each of the individual parameters of each Specification stating the corresponding performance parameter of the equipment offered. Statements of “Comply” or “Not Comply” must be supported by evidence in a Bidders Bid and cross-referenced to that evidence. Evidence shall be in the form of manufacturer’s un-amended sales literature, unconditional statements of specification and compliance issued by the manufacturer, samples, independent test data etc., as appropriate. A statement that is not supported by evidence or is subsequently found to be contradicted by the evidence presented will render the Bid under evaluation liable for rejection. A statement either in the Bidder's statement of compliance or the supporting evidence that is found to be false either during Bid evaluation, post-qualification or the execution of the Contract may be regarded as fraudulent and render the Bidder or supplier liable for prosecution subject to the applicable laws and issuances.] |
|  | PROCUREMENT OF FUEL, LUBRICANTS AND OIL FOR PHILRICE MIDSAYAP (RCEF) FOR THE YEAR 2021 under PB MES 21-02-04 Option 1. Gas station Option 2. Fleet card technology 35,000 *liters of diesel 1,000 *liters of gasoline *50 liters Gear Oil *250 liters Brake Fluid *235 liters Engine Oil *10 liters Grease Oil |  |
|  | OPTION 1. For Gasoline Stations: A. Ensure that the gasoline station is available at all times to dispense fuel to PhilRice service vehicles in accordance with the terms and conditions as stated in the Terms of Reference F. Only the goods stated in the approved withdrawal slip shall be provided by the supplier. G. The service/station branch shall load fuel only to the vehicles indicated in the approved withdrawal slip and no excess shall be allowed outside the maximum allocations; H. A transaction slip/receipt/invoice shall be issued every time fuel is withdrawn; E. The statement of account should be accurate with the receipt/invoice issued by the service stations; F. Ensure that the receipt/invoice accurately reflects all purchases charged. OPTION 2. A. Provide fuel using the fleet card technology. i. Ensure that the fleet card technology is secured and is protected from duplication or hacking; ii. Provide service station network which is available nationwide; iii. Endure that all its branches/service stations are available at all times to dispense fuel to PhilRice service vehicles in accordance with the terms and conditions as stated in the Terms of Reference; iv. Provide a web-based program for data tracking or monitoring reflecting the monthly purchases of PhilRice; v. Provide 24 hour towing services and roadside assistance nationwide to all service vehicles enrolled in the fleet card program B. The Supplier shall provide PhilRice service vehicles a Vehicle-specific fleet card containing the following information: i. Card Number ii. Office Name iii. Vehicle details (type of vehicle and plate number); iv. Product restriction (type of fuel) v. Expiry date C. Only the vehicle indicated in the fleet card shall be allowed to avail of the goods. D. Responsibilities of the Fleet Card Service Provider i. The Service Provider shall allow issuance of fuel products to PhilRice service vehicles, enrolled/listed in the Fleet Card Program, in all of its branches ii. The service/station branch shall load fuel only to the vehicles indicated in the fleet card and no excess shall be allowed outside the maximum allocations; iii. A transaction slip/receipt/invoice shall be issued every time fuel is withdrawn; iv. The statement of account should be accurate with the receipt/invoice issued by the service stations; v. Ensure that the fleet card transaction slip accurately reflects all purchases charged to the fleet card. |  |

# Section VIII. Checklist of Technical and Financial Documents

Checklist of Technical and Financial Documents

| - TECHNICAL COMPONENT ENVELOPE |  |
| --- | --- |
| Class “A” Documents |  |
| Legal Documents |  |
| ⬜ | - Valid PhilGEPS Registration Certificate (Platinum Membership) (all pages); Or |
| ⬜ | - Registration certificate from Securities and Exchange Commission (SEC), Department of Trade and Industry (DTI) for sole proprietorship, or Cooperative Development Authority (CDA) for cooperatives or its equivalent document, And |
| ⬜ | - Mayor’s or Business permit issued by the city or municipality where the principal place of business of the prospective bidder is located, or the equivalent document for Exclusive Economic Zones or Areas; And |
|  | - Tax clearance per E.O. No. 398, s. 2005, as finally reviewed and approved by the Bureau of Internal Revenue (BIR). |
| Technical Documents |  |
| ⬜ | - Statement of the prospective bidder of all its ongoing government and private contracts, including contracts awarded but not yet started, if any, whether similar or not similar in nature and complexity to the contract to be bid; and |
| ⬜ | - Statement of the bidder’s Single Largest Completed Contract (SLCC) similar to the contract to be bid, except under conditions provided for in Sections 23.4.1.3 and 23.4.2.4 of the 2016 revised IRR of RA No. 9184, within the relevant period as provided in the Bidding Documents; and |
| ⬜ | - Original copy of Bid Security. If in the form of a Surety Bond, submit also a certification issued by the Insurance Commission; or Original copy of Notarized Bid Securing Declaration; and |
| ⬜ | - Conformity with the Technical Specifications, which may include production/delivery schedule, manpower requirements, and/or after-sales/parts, if applicable; and |
| ⬜ | - Original duly signed Omnibus Sworn Statement (OSS); and if applicable, Original Notarized Secretary’s Certificate in case of a corporation, partnership, or cooperative; or Original Special Power of Attorney of all members of the joint venture giving full power and authority to its officer to sign the OSS and do acts to represent the Bidder. |
| Financial Documents |  |
| ⬜ | - The Supplier’s audited financial statements, showing, among others, the Supplier’s total and current assets and liabilities, stamped “received” by the BIR or its duly accredited and authorized institutions, for the preceding calendar year which should not be earlier than two (2) years from the date of bid submission; and |
| ⬜ | - The prospective bidder’s computation of Net Financial Contracting Capacity (NFCC); or A committed Line of Credit from a Universal or Commercial Bank in lieu of its NFCC computation. |
| Class “B” Documents |  |
| ⬜ | - If applicable, a duly signed joint venture agreement (JVA) in case the joint venture is already in existence; or duly notarized statements from all the potential joint venture partners stating that they will enter into and abide by the provisions of the JVA in the instance that the bid is successful. |
| Other documentary requirements under RA No. 9184 (as applicable) |  |
| ⬜ | - [For foreign bidders claiming by reason of their country’s extension of reciprocal rights to Filipinos] Certification from the relevant government office of their country stating that Filipinos are allowed to participate in government procurement activities for the same item or product. |
| ⬜ | - Certification from the DTI if the Bidder claims preference as a Domestic Bidder or Domestic Entity. |

| - FINANCIAL COMPONENT ENVELOPE |  |
| --- | --- |
| ⬜ | - Original of duly signed and accomplished Financial Bid Form; and |
| ⬜ | - Original of duly signed and accomplished Price Schedule(s). |

TABLE OF CONTENTS

BID FORM FOR THE PROCUREMENT OF GOODS……………………………………………………………..…………………..33-34

PRICE SCHEDULE FOR GOODS OFFERED FROM ABROAD…………………………………………………………………………………..35

PRICE SCHEDULE FOR GOODS OFFERED FROM WITHIN THE PHILIPPINES………………………………………………………………………  ……36

OMNIBUS SWORN STATEMENT……………..………..………………………….37-38

BID SECURING DECLARATION FORM…….……………………………………….39

PERFORMANCE SECURING DECLARATION….………..….……………………..40

APPENDIX “1”

#### Bid Form for the Procurement of Goods

[shall be submitted with the Bid]

_________________________________________________________________________

#### BID FORM

Date : _________________

Project Identification No.  : _________________

To:  [name and address of Procuring Entity]

Having examined the Philippine Bidding Documents (PBDs) including the Supplemental or Bid Bulletin Numbers [insert numbers], the receipt of which is hereby duly acknowledged, we, the undersigned, offer to [supply/deliver/perform] [description of the Goods] in conformity with the said PBDs for the sum of [total Bid amount in words and figures] or the total calculated bid price, as evaluated and corrected for computational errors, and other bid modifications in accordance with the Price Schedules attached herewith and made part of this Bid.  The total bid price includes the cost of all taxes, such as, but not limited to: [specify the applicable taxes, e.g. (i) value added tax (VAT), (ii) income tax, (iii) local taxes, and (iv) other fiscal levies and duties], which are itemized herein or in the Price Schedules,

If our Bid is accepted, we undertake:

- to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements of the Philippine Bidding Documents (PBDs);

- to provide a performance security in the form, amounts, and within the times prescribed in the PBDs;

- to abide by the Bid Validity Period specified in the PBDs and it shall remain binding upon us at any time before the expiration of that period.

[Insert this paragraph if Foreign-Assisted Project with the Development Partner:

Commissions or gratuities, if any, paid or to be paid by us to agents relating to this Bid, and to contract execution if we are awarded the contract, are listed below:

Name and address Amount and Purpose of

of agent Currency Commission or gratuity

________________________________________________

________________________________________________

________________________________________________

(if none, state “None”)

Until a formal Contract is prepared and executed, this Bid, together with your written acceptance thereof and your Notice of Award, shall be binding upon us.

We understand that you are not bound to accept the Lowest Calculated Bid or any Bid you may receive.

We certify/confirm that we comply with the eligibility requirements pursuant to the PBDs.

The undersigned is authorized to submit the bid on behalf of [name of the bidder] as evidenced by the attached [state the written authority].

We acknowledge that failure to sign each and every page of this Bid Form, including the attached Schedule of Prices, shall be a ground for the rejection of our bid.

Name: ___________________________________________________________________

Legal capacity: _____________________________________________________________

Signature:  ________________________________________________________________

Duly authorized to sign the Bid for and behalf of: __________________________________

Date: ___________________

# Price Schedule for Goods Offered from Abroad

[shall be submitted with the Bid if bidder is offering goods from Abroad]

______________________________________________________________________________

# For Goods Offered from Abroad

Name of Bidder  _________________________  Project ID No._________ Page ___ of ___

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Country of origin | Quantity | Unit price cif port of entry (specify port) or cip named place (specify border point or place of destination) | Total cif or cip price per item (col. 4 x 5) | Unit Price Delivered Duty Unpaid (DDU) | Unit price Delivered Duty Paid (DDP) | Total Price delivered DDP (col 4 x 8) |

Name: ___________________________________________________________________

Legal Capacity: ____________________________________________________________

Signature: ________________________________________________________________

Duly authorized to sign the Bid for and behalf of: __________________________________

Price Schedule for Goods Offered from Within the Philippines

[shall be submitted with the Bid if bidder is offering goods from within the Philippines]

______________________________________________________________________________

For Goods Offered from Within the Philippines

Name of Bidder  ________________________  Project ID No._________  Page ___of___

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Country of origin | Quantity | Unit price exw per item | Transportation and all other costs incidental to delivery, per item | Sales and other taxes payable if Contract is awarded, per item | Cost of Incidental Services, if applicable, per item | Total Price, per unit (col 5+6+7+8) | Total Price delivered Final Destination (col 9) x (col 4) |

Name: ___________________________________________________________________

Legal Capacity: ____________________________________________________________

Signature: ________________________________________________________________

Duly authorized to sign the Bid for and behalf of: __________________________________

Omnibus Sworn Statement (Revised)

[shall be submitted with the Bid]

_________________________________________________________________________

REPUBLIC OF THE PHILIPPINES )

CITY/MUNICIPALITY OF ______  ) S.S.

AFFIDAVIT

I,  [Name of Affiant], of legal age, [Civil Status], [Nationality], and residing at [Address of Affiant], after having been duly sworn in accordance with law, do hereby depose and state that:

- [Select one, delete the other:]

[If a sole proprietorship:] I am the sole proprietor or authorized representative of [Name of Bidder] with office address at [address of Bidder];

[If a partnership, corporation, cooperative, or joint venture:] I am the duly authorized and designated representative of [Name of Bidder] with office address at [address of Bidder];

- [Select one, delete the other:]

[If a sole proprietorship:] As the owner and sole proprietor, or authorized representative of [Name of Bidder], I have full power and authority to do, execute and perform any and all acts necessary to participate, submit the bid, and to sign and execute the ensuing contract for [Name of the Project] of the [Name of the Procuring Entity], as shown in the attached duly notarized Special Power of Attorney;

[If a partnership, corporation, cooperative, or joint venture:] I am granted full power and authority to do, execute and perform any and all acts necessary to participate, submit the bid, and to sign and execute the ensuing contract for [Name of the Project] of the [Name of the Procuring Entity], as shown in the attached [state title of attached document showing proof of authorization (e.g., duly notarized Secretary’s Certificate, Board/Partnership Resolution, or Special Power of Attorney, whichever is applicable;)];

- [Name of Bidder] is not “blacklisted” or barred from bidding by the Government of the Philippines or any of its agencies, offices, corporations, or Local Government Units, foreign government/foreign or international financing institution whose blacklisting rules have been recognized by the Government Procurement Policy Board, by itself or by relation, membership, association, affiliation, or controlling interest with another blacklisted person or entity as defined and provided for in the Uniform Guidelines on Blacklisting;

- Each of the documents submitted in satisfaction of the bidding requirements is an authentic copy of the original, complete, and all statements and information provided therein are true and correct;

- [Name of Bidder] is authorizing the Head of the Procuring Entity or its duly authorized representative(s) to verify all the documents submitted;

- [Select one, delete the rest:]

[If a sole proprietorship:] The owner or sole proprietor is not related to the Head of the Procuring Entity, members of the Bids and Awards Committee (BAC), the Technical Working Group, and the BAC Secretariat, the head of the Project Management Office or the end-user unit, and the project consultants by consanguinity or affinity up to the third civil degree;

[If a partnership or cooperative:] None of the officers and members of [Name of Bidder] is related to the Head of the Procuring Entity, members of the Bids and Awards Committee (BAC), the Technical Working Group, and the BAC Secretariat, the head of the Project Management Office or the end-user unit, and the project consultants by consanguinity or affinity up to the third civil degree;

[If a corporation or joint venture:] None of the officers, directors, and controlling stockholders of [Name of Bidder] is related to the Head of the Procuring Entity, members of the Bids and Awards Committee (BAC), the Technical Working Group, and the BAC Secretariat, the head of the Project Management Office or the end-user unit, and the project consultants by consanguinity or affinity up to the third civil degree;

- [Name of Bidder] complies with existing labor laws and standards; and

- [Name of Bidder] is aware of and has undertaken the responsibilities as a Bidder in compliance with the Philippine Bidding Documents, which includes:

  - Carefully examining all of the Bidding Documents;

  - Acknowledging all conditions, local or otherwise, affecting the implementation of the Contract;

  - Making an estimate of the facilities available and needed for the contract to be bid, if any; and

  - Inquiring or securing Supplemental/Bid Bulletin(s) issued for the [Name of the Project].

- [Name of Bidder] did not give or pay directly or indirectly, any commission, amount, fee, or any form of consideration, pecuniary or otherwise, to any person or official, personnel or representative of the government in relation to any procurement project or activity.

- In case advance payment was made or given, failure to perform or deliver any of the obligations and undertakings in the contract shall be sufficient grounds to constitute criminal liability for Swindling (Estafa) or the commission of fraud with unfaithfulness or abuse of confidence through misappropriating or converting any payment received by a person or entity under an obligation involving the duty to deliver certain goods or services, to the prejudice of the public and the government of the Philippines pursuant to Article 315 of Act No. 3815 s. 1930, as amended, or the Revised Penal Code.

IN WITNESS WHEREOF, I have hereunto set my hand this __ day of ___, 20__ at ____________, Philippines.

[Insert NAME OF BIDDER OR ITS AUTHORIZED REPRESENTATIVE]

[Insert signatory’s legal capacity]

Affiant

[Jurat]

[Format shall be based on the latest Rules on Notarial Practice]

Bid Securing Declaration Form

[shall be submitted with the Bid if bidder opts to provide this form of bid security]

_________________________________________________________________________

REPUBLIC OF THE PHILIPPINES)

CITY OF _______________________) S.S.

BID SECURING DECLARATION

Project Identification No.: [Insert number]

To: [Insert name and address of the Procuring Entity]

I/We, the undersigned, declare that:

- I/We understand that, according to your conditions, bids must be supported by a Bid Security, which may be in the form of a Bid Securing Declaration.

- I/We accept that: (a) I/we will be automatically disqualified from bidding for any procurement contract with any procuring entity for a period of two (2) years upon receipt of your Blacklisting Order; and, (b) I/we will pay the applicable fine provided under Section 6 of the Guidelines on the Use of Bid Securing Declaration, within fifteen (15) days from receipt of the written demand by the procuring entity for the commission of acts resulting to the enforcement of the bid securing declaration under Sections 23.1(b), 34.2, 40.1 and 69.1, except 69.1(f),of the IRR of RA No. 9184; without prejudice to other legal action the government may undertake.

- I/We understand that this Bid Securing Declaration shall cease to be valid on the following circumstances:

      - Upon expiration of the bid validity period, or any extension thereof pursuant to your request;

      - I am/we are declared ineligible or post-disqualified upon receipt of your notice to such effect, and (i) I/we failed to timely file a request for reconsideration or (ii) I/we filed a waiver to avail of said right; and

      - I am/we are declared the bidder with the Lowest Calculated Responsive Bid, and I/we have furnished the performance security and signed the Contract.

IN WITNESS WHEREOF, I/We have hereunto set my/our hand/s this ____ day of [month] [year] at [place of execution].

[Insert NAME OF BIDDER OR ITS AUTHORIZED REPRESENTATIVE]

[Insert signatory’s legal capacity]

Affiant

[Jurat]

[Format shall be based on the latest Rules on Notarial Practice]

Performance Securing Declaration (Revised)

[if used as an alternative performance security but it is not required to be submitted with the Bid, as it shall be submitted within ten (10) days after receiving the Notice of Award]

_________________________________________________________________________

REPUBLIC OF THE PHILIPPINES)

CITY OF _____________________ ) S.S.

PERFORMANCE SECURING DECLARATION

Invitation to Bid: [Insert Reference Number indicated in the Bidding Documents]

To: [Insert name and address of the Procuring Entity]

I/We, the undersigned, declare that:

- I/We understand that, according to your conditions, to guarantee the faithful performance by the supplier/distributor/manufacturer/contractor/consultant of its obligations under the Contract, I/we shall submit a Performance Securing Declaration within a maximum period of ten (10) calendar days from the receipt of the Notice of Award prior to the signing of the Contract.

- I/We accept that: I/we will be automatically disqualified from bidding for any procurement contract with any procuring entity for a period of one (1) year for the first offense, or two (2) years for the second offense, upon receipt of your Blacklisting Order if I/We have violated my/our obligations under the Contract;

- I/We understand that this Performance Securing Declaration shall cease to be valid upon:

  - issuance by the Procuring Entity of the Certificate of Final Acceptance, subject to the following conditions:

    - Procuring Entity has no claims filed against the contract awardee;

    - It has no claims for labor and materials filed against the contractor; and

    - Other terms of the contract; or

  - replacement by the winning bidder of the submitted PSD with a performance security in any of the prescribed forms under Section 39.2 of the 2016 revised IRR of RA No. 9184 as required by the end-user.

IN WITNESS WHEREOF, I/We have hereunto set my/our hand/s this ____ day of [month] [year] at [place of execution].

[Insert NAME OF BIDDER OR ITS AUTHORIZED REPRESENTATIVE]

[Insert signatory’s legal capacity]

Affiant

[Jurat]

[Format shall be based on the latest Rules on Notarial Practice]